## Slide 1
Electric Wiring Diagram
Page 2
Ethernet connection
Page 1
Revision 1

## Slide 2
192.168.1.20
192.168.1.1
192.168.1.15
Page 2
Ethernet connection
Page 2
Revision 1

## Slide 3
Page 2
PLC Power Supply
Page 3
Revision 1

## Slide 4
Page 2
PLC Cards
Page 4
Revision 1

## Slide 5
Page 2
Open Water Valve
Page 5
Revision 1
Relay R1
Samson Water Control Valve
1
9
Digital Output Card
220 VAC Terminals
0 VAC Terminals
Ground Terminals

## Slide 6
Page 2
Close Water Valve
Page 6
Revision 1
Relay R2
Samson Water Control Valve
220 VAC Terminals
0 VAC Terminals
2
10
Digital Output Card
Ground Terminals

## Slide 7
Page 2
Open Drain Valve
Page 7
Revision 1
Relay R3
220 VAC Terminals
0 VAC Terminals
3
11
Digital Output Card
L
N
Ground Terminals
Drain Solenoid Valve

## Slide 8
Page 2
Start Pump
Page 8
Revision 1
Relay R4
220 VAC Terminals
0 VAC Terminals
4
12
Digital Output Card
L
N
Ground Terminals
Water Pump

## Slide 9
Page 2
Start Pump
Page 9
Revision 1
Analog Input Card
1.4 KOhm
Position Potential Divider
DC Power Supply